## Slide 1
Design of a Grid Simulator for the
Dynamic Frequency Stability Studies
Erencan Duymaz
Advisor: Assist. Prof. Ozan Keysan
Middle East Technical University
GRAD STAR Research Workshop 2018
Bibliography
[1] I. A. Erinmez, D. O. Bickers, G. F. Wood, and W. W. Hung, “NGC experience with frequency control in England and Wales-provision of frequency response by generators,” IEEE Power Eng. Soc. 1999 Winter Meet. (Cat. No.99CH36233), vol. 1, pp. 590–596 vol.1, 1999.
[2] S. D. Umans, Fitzgeral & Kingsley’s Electric Machinery. 2014.
Frequency in Power Systems
Figure 1. Frequency control in England and Wales [1]
A realistic grid simulator can be designed in the laboratory by controlling the system speed and output voltage.
DC motor and AC motor will be controlled by controlling their field currents in order to deal with low power equipments.
There is no rotational part!
Frequency is commanded!
Commercial Grid Simulator vs AC Synchronous Generator
Proposal
System is composed of rotational elements.
Frequency is determined according to power balance.
System Description
Exciter
Governor
It adjust the
output voltage.
It adjust the input mechanical power.
a. Frequency response for the 12.5% additional load connection
c. Frequency response for the 25% additional load connection
b. Terminal voltage for 12.5% additional load connection
d. Terminal voltage for 25% additional load connection
Frequency in power systems depends on the balance between generation and consumption.
Increasing renewable energy systems causes higher flactuations in the frequency.
Therefore, frequency stability studies require higher attention. However, absence of dynamical grid simulators makes these studies more challanging in laboratory conditions.
Figure 4. Proposed System Description
Figure 5. Exciter Control Diagram
Figure 9. Governor Control Diagram for mode 3
Figure 7. Governor Control Diagram for mode 1
Figure 10. Comparison of computer simulations and hardware results
Figure 2. Commercial Grid Simulator (left) and AC Synchronous Generator (right)
Figure 3. Laboratory Setup ( AC Generator, DC motor and External Flywheel
Figure 6. Separately excited DC motor equivalent circuit [2]
Results
Figure 8. Governor Control Diagram for mode 2
AC Generator:
If α Vt
DC Motor:
ω α Ea
If α Ea
If α
Ia α Te